## Sheet2
Current system: propane fired hot water heater (Polaris)
System is 17 years old
2017 data
Amount of propane purchased | 740 | gallons
Gross load @ 91,502 BTUs/gallon | 67711480 | BTUs | "Useful heat plus waste"
Efficiency | 85% |  | 95% new
Propane price | 2.223 | $/gallon | 2018 price is closer to $2.54
Cost of Fuel in 2017 | 1645
Net load for my home | 57554758 | BTUs | Heat to be delivered given the desired temperature (assuming no change in weather)
Gross load @ 85% efficiency
Geothermal system (ground-source)
Installed cost | 20000
Incentives
Efficiency Maine | 3000
30% Federal Tax credit | 6000
Net cost | 11000
Efficiency (COP) | 300% | Energy output per unit energy input
COP range for GSHP is 2.4 to 4 (higher for radiant floor heating)
Energy delivered | 19184919.3333 | BTUs
Conversion factor | 3412 | BTUs per kWh
Energy consumption | 5622.7782 | kWh
Price of electricity | 0.12 | $/kWh
Energy cost | 674.7334
Fuel savings | 970.2666
Simple payback | 11.3371 | years
Financing
Loan amount | 11000
Loan term | 60 | months
Interest rate | 3%
Monthly payment | 197.6556
Total cost | 11859.3358
Simple payback | 12.2228 | years
|  |  |  | Year | Energy cost |  | Loan payments | System Cost | Cash Flow | Cumulative Fuel savings
Cash flow analysis for a system design life of 25 years |  |  |  |  | Current system | New system
|  |  |  | 1 | 1645 | 674.7334 | 2371.8672 | 3046.6006 | -1401.6006 | 970.2666 | 5-year loan
Inflation rate | 2% |  |  | 2 | 1677.9 | 688.2281 | 2371.8672 | 3060.0952 | -1382.1952 | 1959.9386
Discount rate (nominal) | 3% | Alternative return |  | 3 | 1711.458 | 701.9926 | 2371.8672 | 3073.8598 | -1362.4018 | 2969.4039
Total savings | 19218.5946 |  |  | 4 | 1745.6872 | 716.0325 | 2371.8672 | 3087.8996 | -1342.2125 | 3999.0586
Net present value of savings | 19422.1126 |  |  | 5 | 1780.6009 | 730.3531 | 2371.8672 | 3102.2203 | -1321.6194 | 5049.3064
Total fuel savings | 31077.9304 |  |  | 6 | 1816.2129 | 744.9602 |  | 744.9602 | 1071.2527 | 6120.5592
Cost of investment | 11859.3358 |  |  | 7 | 1852.5372 | 759.8594 |  | 759.8594 | 1092.6778 | 7213.2369
Return on investment | 162.1% | 3.929% | annualized r.o.g. | 8 | 1889.5879 | 775.0566 |  | 775.0566 | 1114.5314 | 8327.7683
|  |  |  | 9 | 1927.3797 | 790.5577 |  | 790.5577 | 1136.822 | 9464.5903
|  |  |  | 10 | 1965.9273 | 806.3689 |  | 806.3689 | 1159.5584 | 10624.1487
|  |  |  | 11 | 2005.2458 | 822.4962 |  | 822.4962 | 1182.7496 | 11806.8983 | Payback !
|  |  |  | 12 | 2045.3507 | 838.9462 |  | 838.9462 | 1206.4046 | 13013.3029
|  |  |  | 13 | 2086.2578 | 855.7251 |  | 855.7251 | 1230.5327 | 14243.8355
|  |  |  | 14 | 2127.9829 | 872.8396 |  | 872.8396 | 1255.1433 | 15498.9789
|  |  |  | 15 | 2170.5426 | 890.2964 |  | 890.2964 | 1280.2462 | 16779.225
|  |  |  | 16 | 2213.9534 | 908.1023 |  | 908.1023 | 1305.8511 | 18085.0762
|  |  |  | 17 | 2258.2325 | 926.2643 |  | 926.2643 | 1331.9681 | 19417.0443
|  |  |  | 18 | 2303.3971 | 944.7896 |  | 944.7896 | 1358.6075 | 20775.6518
|  |  |  | 19 | 2349.4651 | 963.6854 |  | 963.6854 | 1385.7796 | 22161.4314
|  |  |  | 20 | 2396.4544 | 982.9591 |  | 982.9591 | 1413.4952 | 23574.9267
|  |  |  | 21 | 2444.3835 | 1002.6183 |  | 1002.6183 | 1441.7651 | 25016.6918
|  |  |  | 22 | 2493.2711 | 1022.6707 |  | 1022.6707 | 1470.6004 | 26487.2923
|  |  |  | 23 | 2543.1366 | 1043.1241 |  | 1043.1241 | 1500.0125 | 27987.3047
|  |  |  | 24 | 2593.9993 | 1063.9866 |  | 1063.9866 | 1530.0127 | 29517.3174
|  |  |  | 25 | 2645.8793 | 1085.2663 |  | 1085.2663 | 1560.613 | 31077.9304